
[image: image1.wmf]Fuel Electromagnetism Loop

(12V/24V/1A)

J

J

Red

White

Fuel

Auto Startup

Ext-Fault

Startup Fail

Running

Over Speed

Over Temp

Eme-Stop

Low Oil Press

Charge Fault

Low Speed

DIESEL CONTROLLER

EASYPANEL 

EP-

10

O

Stop/Reset

I

Startup

Rev/Running Status

High-power Startup Relay

Startup Generator

12.(Null)

11.(N Line) Input

11

Connection Instruction

15.Auto-startup

14.(Null)

13.(L Line) Input

（DC 1A）�

10.Battery-

5.Run

5

1

3

2

4

6

7

8

9

10

（DC 1A）�

1.Idel/ Output

4.Alarm

2.Idel/ Output

3.Idel/ Output

（DC 5A）�

（DC 5A）�

6.Startup

7.Fuel

8.Battery+

9.Battery+

20.Ground

15

13

12

14

16

17

18

20

19

16.High Water Temp

17.Low Oil Press

18.Ext-Fault

19.Reset/ Eme-stop

Contact from Controller to Generator


_1173622773.dwg

